B.J. GUNTER CO., INC.

SAMPLE BID FORM.xls

ESTIMATE

PROJECT/TENANT:
LOCATION:

SAMPLE
ADDRESS
SUITE #

PREPARED BY:
PREPARED FOR:

DEANA DABBS
CONSTRUCTION MANAGER

ORIG. ESTIMATE:
DATE:

$204,249

TOTAL:
01/15/08

DESCRIPTION OF WORK

DIVISION
TOTAL

QUANTITY

PARTITIONS
REGULAR WALLS 9' HIGH
TENANT DEMISING WALL
INTERIOR FURRED WALLS 9'
OFFICE DEMISING WALL
DOUBLE FRAME RADIUS WALL
RADIUS SOFFITS
SOFFIT
FINISH NEW WALLS
FRAME DOOR/CASED OPENING
FRAME WINDOW OPENING
WINDOW MULL/CAP
HALF BEAD

214
150
86
98
18
172
76
1
14
1
4
824

LF
LF
LF
LF
LF
LF
LF
LS
EA
EA
EA
LF

$86,763.58

TOTAL PARTITIONS
CEILING SYSTEMS
F/I STD 2X2 GRID & TILE
S/R CEILING
FRAME LIGHTS
INSULATE CEILING 6"

2142
484
32
2142

SF
SF
EA
SF

$7,851.60

TOTAL CEILING SYSTEMS
DOORS/FRAMES & HARDWARE
F/I STD INTERIOR DOOR & FRAMES
F/I 1-HOUR INTERIOR DOOR & FRAME
F/I LEVER HARDW ARE
F/I DOOR CLOSURE
F/I WINDOW FRAME
FLOOR MOUNT DOOR STOPS

10
2
12
2
1
14

EA
EA
EA
EA
EA
EA

$7,952.00

TOTAL DOORS/FRAMES & HARDWARE
GLASS AND GLAZING
F/I STOREFRONT ENTRY DOORS
F/I 4X4 SLIDING WINDOW

1 PR
1 EA

$3,272.50

TOTAL GLASS AND GLAZING
MILLWORK
F/I P. LAM. BASE CABINETW/COUNTERTOPS
F/I P. LAM WALL CABINET
F/I P. LAM COUNTER TOP
F/I 12" TRANSACTION LEDGE
F/I WOOD BLOCKING

12
8
8
4
1
TOTAL MILLWORK

5:13 PM

B.J. Gunter Co., Inc. (770) 433-0793 / fax (770) 438-9652

LF
LF
LF
LF
LS

$4,195.00

1

B.J. GUNTER CO., INC.

SAMPLE BID FORM.xls

ESTIMATE

PROJECT/TENANT:
LOCATION:

SAMPLE
ADDRESS
SUITE #

PREPARED BY:
PREPARED FOR:

DEANA DABBS
CONSTRUCTION MANAGER

ORIG. ESTIMATE:
DATE:

$204,249

TOTAL:
01/15/08

DESCRIPTION OF WORK

DIVISION
TOTAL

QUANTITY

WALL FINISHES
PAINT REGULAR WALLS
PAINT SHEETROCK CEILINGS
PAINT VERTICALS
PAINT REG DOOR & FRAME
PAINT WINDOW FRAMES

8224
484
1
12
1

SF
SF
LS
EA
EA

$4,371.80

TOTAL WALL FINISHES
FIRE PROTECTION
F/I SPRINKLERS AS REQUIRED TO MEET CODE
F/I ADA AUDIO/VISUAL ALARMS

1 LS
1 LS

$7,617.15

TOTAL FIRE PROTECTION
MECHANICAL
F/I HVAC, GAS LINES, DUCTWORK, SUPPLIES &
RETURNS
F/I EXHAUST FANS
STRUCTURAL STEEL
PERMIT & MEP'S

7
2
1
1

TN
EA
LS
LS

$21,550.00

TOTAL MECHANICAL
PLUMBING
F/I LAVATORY SINK
F/I HANDICAP TOILET
F/I BAR SINK
F/I BREAKROOM SINK
F/I WATER HEATER
PIPING
REMOVE & REPLACE FLOOR
F/I WATER LINE FOR ICE MAKER
F/I WATER LINE FOR COFFEE MAKER
F/I DRINKING FOUNTAIN
PERMIT & MEP'S

2 EA
2 EA
EA
1 EA
1 EA
1 LS
104 LF
1 EA
1 EA
1 EA
1 LS

$9,567.00

TOTAL PLUMBING
ELECTRICAL
F/I SWITCH
F/I REGULAR OUTLET
F/I DEDICATED OUTLET
F/I GFCI OUTLET
F/I DEDICATED GFCI OUTLET
F/I PULL STRING FOR PHONE
F/I WAREHOUSE OUTLET
F/I NEW 2X4 LIGHT
F/I INCANDESCENT DOWNLIGHTS
F/I NEW 2X2 LIGIHT
F/I 8' STRIP LIGHTS
F/I EXIT LIGHT
F/I EXIT COMBO
F/I EMERGENCY LIGHT
F/I 2" PHONE CONDUIT
5:13 PM

B.J. Gunter Co., Inc. (770) 433-0793 / fax (770) 438-9652

12
32
1
3
1
13
1
31
6
1
2
3
2
6
1

EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
EA
2

B.J. GUNTER CO., INC.

SAMPLE BID FORM.xls

ESTIMATE

PROJECT/TENANT:
LOCATION:

SAMPLE
ADDRESS
SUITE #

PREPARED BY:
PREPARED FOR:

DEANA DABBS
CONSTRUCTION MANAGER

ORIG. ESTIMATE:
DATE:

$204,249

TOTAL:
01/15/08

DESCRIPTION OF WORK

DIVISION
TOTAL

QUANTITY

F/I 200 AMP 277 VOLT PANEL & FEEDER
F/I 200 AMP 120/208 VOLT PANEL & FEEDER
F/I 75 KVA TRANSFORMER
WIRE BATH FAN
WIRE WATER HEATER
WIRE UNIT HEATER
WIRE HVAC
F/I CIRCUIT
F/I FLOOR BOX
F/I 400 WATT LIGHTS
F/I 8' TRACKS
F/I TRACK HEADS
REMOVE & REPLACE FLOOR
WIRE WAREHOUSE EXHAUST FAN
PERMIT & MEP'S

1
1
1
2
1
1
7
6
1
16
1
4
1
1
1

EA
EA
EA
EA
EA
EA
TN
EA
EA
EA
EA
EA
LS
EA
LS

$41,222.25

TOTAL ELECTRICAL
MISCELLANEOUS
F/I FIRE EXTINGUISHER
F/I PHONE BOARD
F/I RESTROOM ACCESSORIES
ROOFING
SCAFFOLDING/LIFT
MATERIAL DELIVERY
SIGNAGE
CONSTRUCTION CLEAN-UP
PERMIT & INSPECTIONS

5:13 PM

4
1
1
1
1
1
2
1
1

EA
EA
LS
LS
LS
LS
EA
LS
LS

TOTAL MISCELLANEOUS

$9,885.95

TOTAL COST

$204,248.83

B.J. Gunter Co., Inc. (770) 433-0793 / fax (770) 438-9652

3

B.J. GUNTER CO., INC.

SAMPLE BID FORM.xls

ESTIMATE

PROJECT/TENANT:
LOCATION:

SAMPLE
ADDRESS
SUITE #

PREPARED BY:
PREPARED FOR:

DEANA DABBS
CONSTRUCTION MANAGER

ORIG. ESTIMATE:
DATE:

TOTAL:

$204,249

01/15/08

DESCRIPTION OF WORK

QUANTITY

DIVISION
TOTAL

NOTES
1)
2)
3)
4)

JOB PRICED TO BE PERFORMED PERMITTED
JOB PRICED TO BE PERFORMED DURING NORMAL BUSINESS HOURS
NO LOW VOLTAGE PRICED
NO SECURITY SYSTEM PRICED

ALTERNATES
1) F/I BLINDS(24EA)
2) F/I SIDEWALK W/ CURB CUT @ VACANT SPACE
3) F/I FULL GLASS PANELS IN CONF ROOM DOUBLE
DOORS

TOTAL COST WITH ALTERNATES

$3,695.00
$995.00
$675.00

$209,613.83

ACCEPTANCE
IF THIS PROPOSAL IS ACCEPTED PLEASE SIGN AND DATE BELOW ,
INITIAL ACCEPTED ALTERNATES AND PROVIDE TOTAL JOB COST.
SIGNATURE:
DATE:
TOTAL JOB COST:

5:13 PM

B.J. Gunter Co., Inc. (770) 433-0793 / fax (770) 438-9652

4

B.J. GUNTER CO., INC.

SAMPLE BID FORM.xls

ESTIMATE

PROJECT/TENANT:
LOCATION:

SAMPLE
ADDRESS
SUITE #

PREPARED BY:
PREPARED FOR:

DEANA DABBS
CONSTRUCTION MANAGER

ORIG. ESTIMATE:
DATE:

TOTAL:

$204,249

01/15/08

DESCRIPTION OF WORK

QUANTITY

DIVISION
TOTAL

CONSTRUCTION COST ANALYSIS

Demolition

SUMMARY
DIVISION
DEM

TOTALS
$0.00

Partitions

PART

$86,763.58

Ceiling Systems

CLG

$7,851.60

Carpentry / Doors / Hardware

CARP

$7,952.00

Millwork

MILL

$4,195.00

Finishes

FIN

$4,371.80

Glass & Glazing

GLASS

$3,272.50

Toilet Partitions & Accessories

TOIL

$1,210.95

Miscellaneous / Specialties

MISC

$8,675.00

Fire Protection

FIRE

Mechanical

MECH

Plumbing

PLUM

$9,567.00

Electrical

ELEC

$41,222.25

$7,617.15
$21,550.00

CONSTRUCTION COST
$100,000.00
$90,000.00
$80,000.00

AMOUNT

$70,000.00
$60,000.00
$50,000.00
$40,000.00
$30,000.00
$20,000.00
$10,000.00
$0.00

DIVISION

5:13 PM

B.J. Gunter Co., Inc. (770) 433-0793 / fax (770) 438-9652

5